Injury and Illness

Prevention Program

TABLE OF CONTENTS

Introduction

Section I	Assignment of Responsibility and Policy Statement

Section II	Employee Compliance

Section III	Employee Communication

Section IV	Training

Section V	Inspections and Corrections of Hazards

Section VI	Injury and Illness Investigation

Section VII	Recordkeeping

INTRODUCTION

Title 8, CCR (California Code of Regulations) 3203 requires all California employers to "establish, implement and maintain an effective Injury and Illness Prevention Program” in writing and must include the following:

- The identity of the person or persons with the authority and responsibility for implementing and maintaining the plan, as well as the company safety policy.

- A method for ensuring employee compliance with the plan.

- A system for communicating with employees on matters of safety and health.

- An Occupational Health and Safety Training Program.

- Scheduled, periodic inspections to identify hazards and a

- System for correcting unsafe conditions and work practices.

- A procedure for conducting injury and illness investigations.

- A system of documentation and recordkeeping.

SECTION I

ASSIGNMENT

OF

RESPONSIBILITY

AND POLICY

STATEMENT

ASSIGNMENT OF RESPONSIBILITY

I, ________________________________________________will see to it that our company's managers and supervisors will assume their respective responsibility for the safety and health of their assigned staff. Those responsibilities will include, but will not be limited to:

- Review safety policies and procedures; become familiar with functions and responsibilities of supervision and the interrelationships with other departments.

- Develop a sound technical knowledge of all applicable Cal/OSHA Safety Orders and Regulations; also stay current with requirements made by other government agencies.

- Maintain an occupational training program covering hazards basic to all types of employment and those unique to each worker's job assignment.

- Correct unsafe and unhealthy work practices in a timely manner (also document this on provided forms).

- Schedule and conduct regular safety training meetings with all employees.

- Perform first-aid duties as required, which will include maintaining appropriate first-aid supplies, dissemination of emergency procedures, and providing first-aid training.

- Keep records of all employee training, corrections of unsafe conditions, dates and results of workplace inspections. For company recordkeeping, submit all documentation to: _______________________________________

_____________________________________		________________

President/Owner 							Date

SAFETY POLICY STATEMENT

It is the policy of ____________________________________________ that injury and illness prevention shall be considered of primary importance in all phases of operations and administration.

It is the intention of the company's top management to provide safe and healthy working conditions and to establish and insist upon safe practices at all times by all employees.

The prevention of injury and illness is an objective affecting all levels of the organization and its activities. It is therefore, a basic requirement that each supervisor make the safety of employees an integral part of his or her regular management function. It is equally the duty of each employee to accept and follow established safety regulations and procedures.

Every effort will be made to provide adequate training to employees. However, if an employee is ever in doubt how to do a job safely, it is their duty to ask a qualified person for assistance.

Employees are expected to assist management in injury and illness prevention activities. Unsafe conditions must be reported. Fellow employees that need help should be assisted. Everyone is responsible for the housekeeping duties that pertain to their jobs.

Any injury that occurs on the job, even a slight cut or strain, must be reported to management as soon as possible. In no circumstance, except an emergency, should an employee leave a shift without reporting an injury that occurred.

When you have an injury and illness, everyone loses; you, your family, your fellow

workers and the company. Please work safely. It's good for everyone.

_____________________________________		________________

President/Owner 							Date

DESIGNATED SAFETY PROGRAM COORDINATORS

The responsibility of implementing the company safety program is to be shared by all supervisory staff, with the overall administration of the program assigned to:

_____________________________________		_________________________

Name								Title

_____________________________________		_________________________

Name								Title

_____________________________________		_________________________

Name								Title

_____________________________________		_________________________

Name								Title

SECTION II

EMPLOYEE

COMPLIANCE

EMPLOYEE COMPLIANCE POLICY

Management is responsible for ensuring that all safety and health policies and procedures are clearly communicated, and understood by all employees.

Managers and supervisors are expected to enforce the rules fairly and uniformly.

All employees are responsible for using safe work practices, for following all directives, policies and procedures, and for assisting in maintaining a safe work environment.

Our system of ensuring that all workers comply with the rules and maintain a safe work environment includes:

- Informing workers of the provisions of our Injury and Illness Prevention Program;

- Evaluating the safety performance of all workers;

- Recognizing employees who perform safe and healthful work practices;

- Providing training to workers whose safety performance is deficient;

- Disciplining workers for failure to comply with safe and healthful work practices

Employees who fail to follow the company's code of safe work practices will be subject to some or all of the following disciplinary actions depending on the severity of the violation.

1st violation 		Verbal and/or Written Warning

2nd violation 		Written Warning

3rd violation		Suspension

4th violation		Termination

CODE OF SAFE PRACTICES

GENERAL INDUSTRY/ OFFICE

It is our policy that everything possible will be done to protect employees, customers and visitors from accidents. Safety is a cooperative undertaking requiring participation by every employee. Failure by any employee to comply with safety rules will be grounds for corrective discipline. Supervisors shall insist that employees observe all applicable Company, State and Federal safety rules and practices and take action as is necessary to obtain compliance.

To carry out this policy employees shall:

- Report all unsafe conditions and equipment to their supervisor or safety coordinator.

- Report all incidents, injuries and illnesses to their supervisor or safety coordinator immediately.

- Anyone known to be under the influence of intoxicating liquor or drugs, shall not be allowed on the job while in that condition.

- Horseplay, scuffling, and other acts which tend to have an adverse influence on the safety or well-being of the employees are prohibited.

- Means of egress shall be kept unblocked, well-lighted and unlocked during work hours.

- In the event of fire, sound alarm and evacuate.

- Upon hearing fire alarm, stop work and proceed to the nearest clear exit. Gather at the designated location.

- Only trained workers may attempt to respond to a fire or other emergency.

- Exit doors must comply with fire safety regulations during business hours.

- Stairways should be kept clear of items that can be tripped over, and all areas under stairways that are egress routes should not be used to store combustibles.

- Materials and equipment will not be stored against doors or exits, fire ladders or fire extinguisher stations.

- Aisles must be kept clear at all times.

- Work areas should be maintained in a neat, orderly manner. Trash and refuse are to be thrown in proper waste containers.

- All spills shall be wiped up promptly.

- Always use the proper lifting technique. Never attempt to lift or push an object which is too heavy. Employees must contact their supervisor when help is needed to move a heavy object.

- Never stack material precariously on top of lockers, file cabinets or other relatively high places.

- When carrying material, caution should be exercised in watching for and avoiding obstructions, loose material, etc.

- Do not stack material in an unstable manner.

- Report exposed wiring and cords that are frayed or have deteriorated insulation so that they can be repaired promptly.

- Never use a metal ladder where it could come in contact with energized parts of equipment, fixtures or circuit conductors.

- Maintain sufficient access and working space around all electrical equipment to permit ready and safe operations and maintenance.

- Do not use any portable electrical tools and equipment that are not grounded or double insulated.

- All electrical equipment should be plugged into appropriate wall receptacles or into an extension of only one cord of similar size and capacity. Three-pronged plugs should be used to ensure continuity of ground.

- All cords running into walk areas must be taped down or inserted through rubber protectors to preclude them from becoming tripping hazards.

- Inspect motorized vehicles and other mechanized equipment daily or prior to use.

- Shut off engine, set brakes and block wheels prior to loading or unloading vehicles.

- Inspect pallets and their loads for integrity and stability before loading or moving.

- Do not use compressed air for cleaning off clothing.

- Do not store compressed gas cylinders in areas which are exposed to heat sources, electric arcs or high temperature lines.

- Identify contents of pipelines prior to initiating any work that affects the integrity of the pipe.

- Wear hearing protection in all areas identified as having high noise exposure.

- Goggles or face shields must be worn when grinding.

- Do not use any faulty or worn hand tools.

- Guard floor openings by a cover, guardrail, or equivalent.

- Do not enter into a confined space unless tests for toxic substances, explosive concentrations, and oxygen deficiency have been taken.

- Always keep flammable or toxic chemicals in closed containers when not in use.

- Do not eat in areas where hazardous chemicals are present.

- Be aware of the potential hazards involving various chemicals stored or used in the workplace.

- Cleaning supplies should be stored away from edible items on kitchen shelves.

- Cleaning solvents and flammable liquids should be stored in appropriate containers.

- Solutions that may be poisonous or not intended for consumption should be kept in well-labeled containers.

- Never leave lower desk or cabinet drawers open that present a tripping hazard.

- Use care when opening and closing drawers to avoid pinching fingers.

- Do not open more than one upper drawer at a time, particularly the top two drawers on tall file cabinets.

- Individual heaters at work areas should be kept clear of combustible materials such as drapes or waste from waste baskets. Newer heaters which are equipped with tip-over switches should be used.

- Appliances such as coffee pots and microwaves should be kept in working order and inspected for signs of wear, heat or fraying of cords.

- Fans used in work areas should be guarded. Guards must not allow fingers to be inserted through the mesh. Newer fans are equipped with proper guards.

USE OF TOOLS AND EQUIPMENT

- All tools and equipment shall be maintained in good condition.

- Damaged tools or equipment shall be removed from service and tagged “DEFECTIVE.”

- Pipe or Stillson wrenches shall not be used as a substitute for other wrenches.

- Only appropriate tools shall be used for a specific job.

- Wrenches shall not be altered by the addition of handle-extensions or “cheaters.”

- Files shall be equipped with handles and not used to punch or pry.

- A screwdriver shall not be used as a chisel.

- Portable electric tools shall not be lifted or lowered by means of the power cord. Ropes shall be used.

- Electric cords shall not be exposed to damage from vehicles.

- In locations where the use of a portable power tool is difficult, the tool shall be supported by means of a rope or similar support of adequate strength.

MACHINERY AND VEHICLES

- Only authorized persons shall operate machinery or equipment.

- Loose or frayed clothing, long hair, dangling ties, finger rings, etc., shall not be worn around moving machinery or other areas where they may become entangled.

- Machinery shall not be serviced, repaired or adjusted while in operation, nor shall oiling of moving parts be attempted, except on equipment that is designed or fitted with safeguards to protect the person performing the work.

- Where appropriate, lock-out procedures shall be used.

- Employees shall not work under vehicles supported by jacks or chain hoists without protective blocking that will prevent injury if jacks or hoists should fail.

- Air hoses shall not be disconnected at compressors until the hose line has been bled.

SECTION III

EMPLOYEE

COMMUNICATION

SAFETY COMMUNICATION

All managers and supervisors are responsible for communicating with all workers about occupational safety and health in a form readily understandable by all workers. Our communication system encourages all workers to inform their managers and supervisors about workplace hazards without fear of reprisal.

Our communication system includes one or more of the following items:

- Review of our Injury and Illness Prevention Program.

- Training programs.

- Posted or distributed safety information.

- A system for workers to anonymously inform management about workplace hazards.

- Our establishment has less than ten employees and communicates with and instructs employees orally about general safe work practices and hazards unique to each employee's job assignment.

- Employee orientations, conducted at the time of hire, will stress the importance and will encourage all workers to report all hazards to a supervisor.

- Regular safety meetings to keep employees informed of safety and health matters. Time will be provided to allow employees to state their safety concerns without fear of reprisal.

- A bulletin board will be maintained to inform employees on matters of worker safety and health and will include a poster encouraging employees to report unsafe conditions or occupational health concerns.

- An anonymous suggestion box will be provided to facilitate employee safety and health communication.

- Some safety and health information will be disseminated electronically through corporate email and/or available on an employee web portals or company intranet.

EMPLOYEE SAFETY MEETINGS / TRAININGS

PURPOSE:

•	To provide safety training on new procedures and equipment.

•	To discuss the safety issues related to a current project.

•	To provide employees with a regular forum for reporting and discussing safety concerns.

FREQUENCY (Weekly/Monthly/Quarterly):  _________________________________

PARTICIPANTS:

All employees where program has been implemented.

PRESENTER(S):

Generally first- and second-line supervision will present this meeting; however, all employees are encouraged to present topics and participate in presentations. Also, guest presenters are encouraged, such as the appropriate Safety Manager, Risk Management, etc.

TOPICS:

Suggested topics include, but are not limited to:

•	Policy and Administrative Control	•	General Housekeeping

•	General Housekeeping 	•	Food Safety/Sanitation

•	Fire/Life Safety	•	Accident/Injury Reporting

•	Personal Protective Equipment	•	General Safety Rules/Regulations

•	Department Emergency Procedures	•	New Employee Training

•	Compliance with INJURY AND ILLNESS PREVENTIONP

DOCUMENTATION/FOLLOW-UP:

All safety meetings will be documented including the meeting topic, date, presenter, and a list the persons who were in attendance.

Safety Meeting / Training

Employer: _____________________________________________

Department / Job Location: ______________________________

Date of Training: _______________________________________

| Incident/Injury or Illness Reviewed |  | Employee Signature | Print Name |
| --- | --- | --- | --- |
| Subjects Discussed |  |  |  |
| Suggestions/Recommendations |  |  |  |
| Action Taken / Comments |  |  |  |

Trainer Signature____________________________Print Name:_________________

SAFETY COMMITTEE MEETINGS

In compliance with Cal/OSHA requirements, the committee will:

- Meet regularly, but not less than quarterly

- Prepare and make available to the affected employees, written records of the safety and health issues discussed at the committee meetings and, maintain for review by Cal/OSHA upon request

- Review results of the periodic, scheduled worksite inspections

- Review investigations of occupational injuries and illnesses and causes of incidents resulting in occupational injury, occupational illness, or exposure to hazardous substances and, where appropriate, submit suggestions to management for the prevention of future incidents

- Review investigations of alleged hazardous conditions brought to the attention of any committee member. When determined necessary by the committee, the Committee may conduct its own inspections and investigation to assist in remedial solutions

- Submit recommendations to assist in the evaluation of employee safety suggestions

- Upon request from Cal/OSHA, verify abatement action taken by the employer to abate citations issued by Cal/OSHA

MINUTES OF SAFETY COMMITTEE MEETING

Department:____________________________  Meeting Date:________ Time:_______

Meeting Chair:___________________________  Next Meeting Date:___________

Meeting Attendees:				Position/Department

_______________________________________	____________________________________

_______________________________________	____________________________________

_______________________________________	____________________________________

_______________________________________	____________________________________

_______________________________________	____________________________________

_______________________________________	____________________________________

Pending Business

Items/Recommendations Completed Since Last Meeting

Items/Recommendations Under Consideration

Accidents (Attach separate sheet if necessary)

| Date | Name | Description |
| --- | --- | --- |

New Recommendations

Meeting Chair Signature:______________________________________ Date_______

SECTION IV

TRAINING

TRAINING

In accordance with Cal/OSHA requirements, training will be provided:

- To all employees and those given new job assignments for which training has not previously been received.

- Whenever new substances, processes, procedures or equipment are introduced to the work place and represent a new hazard; and

- Whenever the employer is made aware of a new or previously unrecognized hazard.

Additional training may be conducted if:

- There is an unusual escalation waste or scrap materials

- Unusually high labor turnover

- An increase in the number of “near misses” which could have resulted in injuries or illnesses

- A recent upswing in actual accident experience

- High injury or illness incidence

- Expansion of operations or new employment

- A change in work process, a new process, or new equipment

- Employee requests for earplugs, respirators or other protective devices

- Repeated questioning by employees seeking answers which may seem obvious

These trainings will be documented and records maintained for at least 3 years.

Employee Training Log

| LOCATION: | TRAINER: |  | SUBJECT: |  |
| --- | --- | --- | --- | --- |
| The employees listed have satisfactorily participated in and fulfilled all requirements of the above training. |  |  |  |  |
| NAME (Print) | DEPARTMENT | NAME (Signature) |  | DATE |

SECTION V

INSPECTIONS

AND

CORRECTIONS

OF HAZARDS

HAZARD ASSESSMENT

Periodic inspections to identify and evaluate workplace hazards shall be performed by a competent observer in the following areas of our workplace:

Periodic inspections are performed according to the following schedule: When we initially established our INJURY AND ILLNESS PREVENTION Program;

1.	When we initially established our Injury and Illness Prevention Program;

2.	When new substances, processes, procedures or equipment which present potential new hazards are introduced into our workplace;

3.	When new, previously unidentified hazards are recognized;

4.	When occupational injuries and illnesses occur; and

5.	Whenever workplace conditions warrant an inspection.

ACCIDENT/EXPOSURE INVESTIGATIONS

Procedures for investigating workplace accidents and hazardous substance exposures include:

1.	Interviewing injured workers and witnesses;

2.	Examining the workplace for factors associated with the accident/exposure;

3.	Determining the cause of the accident/exposure;

4.	Taking corrective action to prevent the accident/exposure from reoccurring; and

5.  Recording the findings and actions taken.

HAZARD CORRECTION

Unsafe or unhealthy work conditions, practices or procedures shall be corrected in a timely manner based on the severity of the hazards. Hazards shall be corrected according to the following procedures:

- When observed or discovered; and

- When an imminent hazard exists which cannot be immediately abated without endangering employee(s) and/or property, we will remove all exposed workers from the area except those necessary to correct the existing condition. Workers who are required to correct the hazardous condition shall be provided with the necessary protection.

Risk Assessment / Site Inspection

Name:____________________________________    Inspection Date: _________________

| Hazard | Correction | Date Completed |
| --- | --- | --- |

GENERAL WORK ENVIRONMENT

Are all worksites clean and orderly?

Are work surfaces kept dry or appropriate means taken to assure the surfaces are slip-resistant?

Are all spilled materials or liquids cleaned up immediately?

Is combustible scrap, debris and waste stored safely and removed from the worksite promptly?

Is accumulated combustible dust routinely removed from elevated surfaces, including the overhead structure of buildings?

Is combustible dust cleaned up with a vacuum system to prevent the dust going into suspension?

Is metallic or conductive dust prevented from entering or accumulating on or around electrical enclosures or equipment?

Are covered metal waste cans used for oily and paint-soaked waste?

Are all oil- and gas-fired devices equipped with flame failure controls that will prevent flow of fuel if pilots or main burners are not working?

Are paint spray booths, dip tanks, and the like, cleaned regularly?

Are the minimum number of toilets and washing facilities provided?

Are all toilets and washing facilities clean and sanitary?

Are all work areas adequately illuminated?

Are pits and floor openings covered or otherwise guarded?

PERSONAL PROTECTIVE EQUIPMENT & CLOTHING

Are protective goggles or face shields provided and worn where there is any danger of flying particles or corrosive materials?

Are approved safety glasses required to be worn at all times in areas where there is a risk of eye injuries such as punctures, abrasions, contusions, or burns?

Are employees who need corrective lenses (glasses or contact lenses) in working environments with harmful exposures, required to wear only approved safety glasses, protective goggles, or use other medically approved precautionary procedures?

Are protective gloves, aprons, shields, or other means provided against cuts, corrosive liquids, and chemicals?

Are hard hats provided and worn where danger of falling objects exists?

Are hard hats inspected periodically for damage to the shell and suspension system?

Is appropriate foot protection required where there is the risk of foot injuries from hot, corrosive, or poisonous substances, falling objects, crushing, or penetrating actions?

Are approved respirators provided for regular or emergency use where needed?

Is all protective equipment maintained in a sanitary condition and ready for use?

Do you have eye-wash facilities and a quick-drench shower within the work area where employees may be exposed to injurious corrosive materials?

Where special equipment is needed for electrical workers, is it available?

When lunches are eaten on the premises, are they eaten in areas where there is no exposure to toxic materials or other health hazards?

Is protection against the effects of occupational noise exposure provided when sound levels exceed those of the Cal/OSHA noise standard?

WALKWAYS

Are aisles and passageways kept clear?

Are aisles and walkways marked as appropriate?

Are wet surfaces covered with non-slip materials?

Are holes in the floor, sidewalk, or other walking surfaces repaired properly, covered or otherwise made safe?

Is there safe clearance for walking in aisles where motorized or mechanical handling equipment is operating?

Are spilled materials cleaned up immediately?

Are materials or equipment stored in such a way that sharp projectiles will not interfere with the walkway?

Are changes of direction or elevations readily identifiable?

Are aisles or walkways that pass near moving or operating machinery, welding operations, or similar operations arranged so employees will not be subjected to potential hazards?

Is adequate headroom provided for the entire length of any aisle or walkway?

Are standard guardrails provided wherever aisle or walkway surfaces are elevated more than 30 inches above any adjacent floor or the ground?

Are bridges provided over conveyors and similar hazards?

FLOOR & WALL OPENINGS

Are floor openings guarded by a cover, guardrail, or equivalent on all sides (except at entrance to stairways or ladders)?

Are toe boards installed around the edges of a permanent floor opening (where persons may pass below the opening)?

Are skylight screens of such construction and mounting that they will withstand a load of at least 200 pounds?

Is the glass in windows, doors, and glass walls which are subject to human impact of sufficient thickness and type for the condition of use?

Are grates or similar type covers over floor openings, such as floor drains, of such design that foot traffic or rolling equipment will not be affected by the grate spacing?

Are unused portions of service pits and pits not actually in use either covered or protected by guardrails or equivalent?

Are manhole covers, trench covers and similar covers, plus their supports, designed to carry a truck rear axle load of at least 20,000 pounds when located in roadways and subject to vehicle traffic?

Are floor or wall openings in fire-resistive construction provided with doors or covers compatible with the fire rating of the structure and provided with self-closing feature when appropriate?

STAIRS & STAIRWAYS

Are standard stair rails or handrails on all stairways having four or more risers?

Are all stairways at least 22 inches wide?

Do stairs have at least a 6’6” overhead clearance?

Do stairs angle no more than 50 degrees and no less than 30 degrees?

Are stairs of hollow-pan type treads and landings filled to noising level with solid material?

Are step risers on stairs uniform from top to bottom, with no riser spacing greater than 7-1/2 inches?

Are steps on stairs and stairways designed or provided with a surface that renders them slip resistant?

Are stairway handrails located between 30 and 34 inches above the leading edge of stair treads?

Do stairway handrails have at least 1-1/2 inches of clearance between the handrails and the wall or surface they are mounted on?

Are stairway handrails capable of withstanding a load of 200 pounds, applied in any direction?

Where stairs or stairways exit directly into any area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic?

Do stairway landings have a dimension measured in the direction of travel, at least equal to width of the stairway?

Is the vertical distance between stairway landings limited to 12 feet or less?

ELEVATED SURFACES

Are signs posted, when appropriate, showing the elevated surface load capacity?

Are surfaces elevated more than 30 inches above the floor or ground provided with standard guardrails?

Are all elevated surfaces (beneath which people or machinery could be exposed to falling objects) provided with standard 4-inch toe boards?

Is a permanent means of access and egress provided to elevated storage and work surfaces?

Is required headroom provided where necessary?

Is material on elevated surfaces piled, stacked or racked in a manner to prevent it from tipping, falling, collapsing, rolling or spreading?

Are dock boards or bridge plates used when transferring materials between docks and trucks or rail cars?

EXITING OR EGRESS

Are all exits marked with an exit sign and illuminated by a reliable light source?

Are the directions to exits, when not immediately apparent, marked with visible signs?

Are doors, passageways, or stairways that are neither exits nor access to exits and which could be mistaken for exits, appropriately marked “NOT AN EXIT”, “TO BASEMENT”, “STOREROOM”, and the like?

Are exit signs provided with the word “EXIT” in lettering at least 5 inches high and the stroke of the lettering at least 1/2 inch wide?

Are exit doors side-hinged?

Are all exits kept free of obstructions?

Are at least two means of egress provided from elevated platforms, pits, or rooms where the absence of a second exit would increase the risk of injury from hot, poisonous, corrosive, suffocating, flammable, or explosive substances?

Are there sufficient exits to permit prompt escape in case of emergency?

Are special precautions taken to protect employees during construction and repair operations?

Is the number of exits from each floor of a building, and the number of exits from the building itself, appropriate for the building occupancy load?

Are exit stairways which are required to be separated from other parts of a building enclosed by at least two-hour fire-resistive construction in buildings more than four stories in height, and not less than one-hour fire-resistive construction elsewhere?

When ramps are used as part of required exiting from a building, is the ramp slope limited to 1-foot vertical and 12 feet horizontal?

Where exiting will be through frameless glass doors, glass exit doors, storm doors, and such, are the doors fully tempered and meet the safety requirements for human impact?

EXIT DOORS

Are doors which are required to serve as exits designed and constructed so that the way of exit travel is obvious and direct?

Are windows which could be mistaken for exit doors made inaccessible by means of barriers or railings?

Are exit doors operable from the direction of exit travel without the use of a key or any special knowledge or effort, when the building is occupied?

Is a revolving, sliding, or overhead door prohibited from serving as a required exit door?

Where panic hardware is installed on a required exit door, will it allow the door to open by applying a force of 15 pounds or less in the direction of the exit traffic?

Are doors on cold storage rooms provided with an inside release mechanism which will release the latch and open the door even if it’s padlocked or otherwise locked on the outside?

Where exit doors open directly onto any street, alley, or other area where vehicles may be operated, are adequate barriers and warnings provided to prevent employees stepping into the path of traffic?

Are doors that swing in both directions and are located between rooms where there is frequent traffic, provided with viewing panels in each door?

PORTABLE LADDERS

Are all ladders maintained in good condition, joints between steps and side rails tight, all hardware and fittings securely attached, and moveable parts operating freely without binding or undue play?

Are non-slip safety feet provided on each ladder?

Are non-slip safety feet provided on each metal or rung ladder?

Are ladder rungs and steps free of grease and oil?

Is it prohibited to place a ladder in front of doors opening toward the ladder except when the door is blocked open, locked, or guarded?

Is it prohibited to place ladders on boxes, barrels, or other unstable bases to obtain additional height?

Are employees instructed to face the ladder when ascending or descending?

Are employees prohibited from using ladders that are missing steps, rungs, or cleats; are broken, have broken side rails or other faulty equipment?

Are employees instructed not to use the top 2 steps of ordinary stepladders as a step?

When portable rung ladders are used to gain access to elevated platforms, roofs, and the like, does the ladder always extend at least 3 feet above the elevated surface?

Is it required that, when portable rung or cleat-type ladders are used, the base is so placed that slipping will not occur, or it is lashed or otherwise held in place?

Are portable metal ladders legibly marked with signs reading “CAUTION”, “Do Not Use Around Electrical Equipment”, or equivalent wording?

Are employees prohibited from using ladders as guys, braces, skids, gin poles, or for other than their intended purposes?

Are employees instructed to only adjust extension ladders while standing at a base (not while standing on the ladder or from a position above the ladder)?

Are metal ladders inspected for damage?

Are the rungs of ladders uniformly spaced at 12 inches, center to center?

HAND TOOLS & EQUIPMENT

Are all tools and equipment (both company- and employee-owned) used by employees at their workplace in good condition?

Are hand tools such as chisels, punches, which develop mushroomed heads during use, reconditioned or replaced as necessary?

Are broken or fractured handles on hammers, axes, and similar equipment replaced promptly?

Are worn or bent wrenches replaced regularly?

Are appropriate handles used on files and similar tools?

Are employees made aware of the hazards caused by faulty or improperly used hand tools?

Are appropriate safety glasses, face shields, and similar equipment used while using hand tools or equipment which might produce flying materials or be subject to breakage?

Are jacks checked periodically to assure they are in good operating condition?

Are tool handles wedged tightly in the head of all tools?

Are tool cutting edges kept sharp so the tool will move smoothly without binding or skipping?

Are tools stored in a dry, secure location where they won’t be tampered with?

Is eye and face protection used when driving hardened or tempered spuds or nails?

PORTABLE (POWER-OPERATED) TOOLS & EQUIPMENT

Are grinders, saws, and similar equipment provided with appropriate safety guards?

Are power tools used with the correct shield, guard or attachment recommended by the manufacturer?

Are portable circular saws equipped with guards above and below the base shoe?

Are circular saw guards checked to assure they are not wedged up, thus leaving the lower portion of the blade unguarded?

Are rotating or moving parts of equipment guarded to prevent physical contact?

Are all cord-connected, electrically-operated tools and equipment effectively grounded or of the approved double-insulated type?

Are effective guards in place over belts, pulleys, chains, and sprockets on equipment such as concrete mixers, air compressors, and the like?

Are portable fans provided with full guards or screens having openings 1/2 inch or less?

Is hoisting equipment available and used for lifting heavy objects, and are hoist ratings and characteristics appropriate for the task?

Are ground-fault circuit interrupters provided on all temporary electrical 15- and 20-ampere circuits used during periods of construction?

Are pneumatic and hydraulic hoses on power-operated tools checked regularly for deterioration or damage?

ABRASIVE WHEEL EQUIPMENT GRINDERS

Is the work rest used and kept adjusted to within 1/8 inch of the wheel?

Is the adjustable tongue on the top side of the grinder used and kept adjusted to within 1/4 inch of the wheel?

Do side guards cover the spindle, nut, and flange and 75 percent of the wheel diameter?

Are bench and pedestal grinders permanently mounted?

Are goggles or face shields always worn when grinding?

Is the maximum RPM rating of each abrasive wheel compatible with the RPM rating of the grinder motor?

Are fixed or permanently mounted grinders connected to their electrical supply system with metallic conduit or other permanent wiring method?

Does each grinder have an individual on-and-off control switch?

Is each electrically operated grinder effectively grounded?

Before new abrasive wheels are mounted, are they visually inspected and ring tested?

Are dust collectors and powered exhausts provided on grinders used in operations that produce large amounts of dust?

Are splash guards mounted on grinders that use coolant, to prevent the coolant reaching employees?

Is cleanliness maintained around grinder?

POWDER-ACTUATED TOOLS

Are employees who operate powder-actuated tools trained in their use and carry a valid operator’s card?

Do the powder-actuated tools being used have written approval of the Division of Occupational Safety and Health?

Is each powder-actuated tool stored in its own locked container when not being used?

Is a sign at least 7” by 10” with bold type reading “POWDER-ACTUATED TOOL IN USE” conspicuously posted when the tool is being used?

Are powder-actuated tools left unloaded until they are actually ready to be used?

Are powder-actuated tools left unloaded until they are actually ready to be used?

Are powder-actuated tools inspected for obstructions or defects each day before use?

Do powder-actuated tool operators have and use appropriate personal protective equipment such as hard hats, safety goggles, safety shoes, and ear protectors?

MACHINE GUARDING

Is there a training program to instruct employees on safe methods of machine operation?

Is there adequate supervision to ensure that employees are following safe machine operating procedures?

Is there a regular program of safety inspection of machinery and equipment?

Is all machinery and equipment kept clean and properly maintained?

Is sufficient clearance provided around and between machines to allow for safe operations, setup and servicing, material handling, and waste removal?

Is equipment and machinery securely placed and anchored, when necessary, to prevent tipping or other movement that could result in personal injury?

Is there a power shut-off switch within reach of the operator’s position at each machine?

Can electric power to each machine be locked out for maintenance, repair, or security?

Are the non-current-carrying metal parts of electrically operated machines bonded and grounded?

Are foot-operated switches guarded or arranged to prevent accidental actuation by personnel or falling objects?

Are manually operated valves and switches controlling the operation of equipment and machines clearly identified and readily accessible?

Are all emergency stop buttons colored red?

Are all pulleys and belts that are within 7 feet of the floor or working level properly guarded?

Are all moving chains and gears properly guarded?

Do machines that use coolant have splash guards mounted to prevent the coolant from reaching employees?

Are methods provided to protect the operator and other employees in the machine area from hazards created at the point of operation, ingoing nip points, rotating parts, flying chips, and sparks?

Are machinery guards secure and so arranged that they do not offer a hazard in their use?

If special hand tools are used for placing and removing material, do they protect the operator’s hands?

Are revolving drums, barrels, and containers required to be guarded by an enclosure that is interlocked with the drive mechanism, so that revolution cannot occur unless the guard enclosure is in place, so guarded?

Do arbors and mandrels have firm and secure bearings and are they free from play?

Are provisions made to prevent machines from automatically starting when power is restored after a power failure or shutdown?

Are machines constructed so as to be free from excessive vibration when the largest size tool is mounted and run at full speed?

If machinery is cleaned with compressed air, is air pressure controlled and personal protective equipment or other safeguards used to protect operators and other workers from eye and body injury?

Are fan blades protected with a guard having openings no larger than 1/2 inch, when operating within 7 feet of the floor?

Are saws used for ripping equipped with anti-kick-back devices and spreaders?

Are radial arm saws so arranged that the cutting head will gently return to the back of the table when released?

LOCKOUT BLOCKOUT PROCEDURES

Is all machinery or equipment that is capable of movement required to be de-energized or disengaged and blocked or locked out during cleaning, servicing, adjusting, or setting up operations, whenever required?

Is the locking out of control circuits in lieu of locking-out?

Does the lock-out procedure require that stored energy (i.e. mechanical, hydraulic, air) be released or blocked before equipment is locked out for repairs?

Are appropriate employees provided with individually keyed personal safety locks?

Are employees required to keep personal control of their key(s) while they have safety locks in use?

Is it required that employees check the safety of the lock-out by attempting a start-up after making sure no one is exposed?

Where the power-disconnecting means for equipment does not also disconnect the electrical control circuit:

- Are the appropriate electrical enclosures identified?

- Is means provided to assure the control circuit can also be disconnected and locked out?

WELDING, CUTTING & BRAZING

Are only authorized and trained personnel permitted to use welding, cutting, or brazing equipment?

Do all operators have a copy of the appropriate operating instructions and are they directed to follow them?

Are compressed gas cylinders regularly examined for obvious signs of defects, deep rusting, or leakage?

Is care used in handling and storage of cylinders, safety valves, relief valves, and the like, to prevent damage?

Are precautions taken to prevent the mixture of air or oxygen with flammable gases, except at a burner or in a standard torch?

Are only approved apparatus (torches, regulators, pressure-reducing valves, acetylene generators, manifolds) used?

Are cylinders kept away from sources of heat?

Is it prohibited to use cylinders as rollers or supports?

Are empty cylinders appropriately marked, their valves closed, and valve-protection caps on?

Are signs reading: “DANGER - NO SMOKING, MATCHES, OR OPEN LIGHTS”, or the equivalent posted?

Are cylinders, cylinder valves, couplings, regulators, hoses, and apparatus kept free of oily or greasy substances?

Is care taken not to drop or strike cylinders?

Unless secured on special trucks, are regulators removed and valve-protection caps put in place before moving cylinders?

Do cylinders without fixed hand wheels have keys, handles, or non-adjustable wrenches on stem valves when in service?

Are liquefied gases stored and shipped valve-end up with valve covers in place?

Are employees instructed to never check a fuel-gas cylinder valve near sources of ignition?

Before a regulator is removed, is the valve closed and gas released from the regulator?

Is red used to identify the acetylene (and other fuel-gas) hose; green for oxygen hose; and black for inert gas and air hose?

Are pressure-reducing regulators used only for the gases and pressures for which they are intended?

Is open-circuit (no load) voltage of arc welding and cutting machines as low as possible and not in excess of the recommended limits?

Under wet conditions, are automatic controls for reducing no-load voltage used?

Is grounding of the machine frame and safety ground connections of portable machines checked periodically?

Are electrodes removed from the holders when not in use?

Is it required that electric power to the welder be shut off when no one is in attendance?

Is suitable fire-extinguishing equipment available for immediate use?

Is the welder forbidden to coil or loop welding electrode cable around his body?

Are wet machines thoroughly dried and tested before being used?

Are work and electrode lead cables frequently inspected for wear and damage, and replaced when needed?

Do means for connecting cables/lengths have adequate insulation?

When the object to be welded cannot be moved and fire hazards cannot be removed, are shields used to confine heat, sparks, and slag?

Are fire watchers assigned when welding or cutting is performed, in locations where a serious fire might develop?

Are combustible floors kept wet, covered by damp sand, or protected by fire-resistant shields?

When floors are wet down, are personnel protected from possible electrical shock?

When welding is done on metal walls, are precautions taken to protect combustibles on the other side?

Before hot work is begun, are used drums, barrels, tanks, and other containers so thoroughly cleaned that no substances remain that could explode, ignite, or produce toxic vapors?

Is it required that eye protection helmets, hand shields and goggles meet appropriate standards?

Are employees exposed to the hazards created by welding, cutting, or bracing operations protected with personal protective equipment and clothing?

Is a check made for adequate ventilation where welding or cutting is performed?

When working in confined places, are environmental monitoring tests taken and means provided for quick removal of welders in case of an emergency?

COMPRESSORS & COMPRESSED AIR

Are compressors equipped with pressure-relief valves and pressure gauges?

Are compressor air intakes installed and equipped to ensure that only clean, uncontaminated air enters the compressor?

Are air filters installed on the compressor intake?

Are compressors operated and lubricated in accordance with the manufacturer’s recommendations?

Are safety devices on compressed air systems checked frequently?

Before any repair work is done on the pressure system of a compressor, is the pressure bled off and the system locked out?

Are signs posted to warn of the automatic starting feature of the compressors?

Is the belt drive system totally enclosed to provide protection for the front, back, top, and sides?

Is it strictly prohibited to direct compressed air towards a person?

Are employees prohibited from using highly compressed air for cleaning purposes?

If compressed air is used for cleaning off clothing, is the pressure reduced to less than 10 psi?

When using compressed air for cleaning, do employees use personal protective equipment?

Are safety chains or other suitable locking devices used at couplings of high-pressure hose lines where a connection failure would create a hazard?

Before compressed air is used to empty containers of liquid, is the safe working pressure of the container checked?

When compressed air is used with abrasive blast-cleaning equipment, is the operating valve a type that must be held open manually?

When compressed air is used to inflate auto tires, is a clip-on check and an inline regulator preset to 40 psi required?

Is it prohibited to use compressed air to clean up or move combustible dust if such action could cause the dust to be suspended in the air and cause a fire or explosion hazard?

COMPRESSED AIR RECEIVERS

Is every receiver equipped with a pressure gauge and with one or more automatic, spring-loaded safety valves?

Is the total relieving capacity of the safety valve capable of preventing pressure in the receiver from exceeding the maximum allowable working pressure of the receiver by more than 10 percent?

Is every air receiver provided with a drainpipe and valve at the lowest point for the removal of accumulated oil and water?

Are compressed air receivers periodically drained of moisture and oil?

Are all safety valves tested frequently and at regular intervals to determine whether they are in good operating condition?

Is there a current operating permit issued by the Division of Occupational Safety and Health?

Is the inlet of air receivers and piping systems kept free of accumulated oil and carbonaceous materials?

COMPRESSED GAS & CYLINDERS

Are cylinders with a water weight capacity over 30 pounds equipped with means for connecting a valve protector device, or with a collar or recess to protect the valve?

Are cylinders legibly marked to clearly identify the gas contained?

Are compressed gas cylinders stored in areas which are protected from external heat sources such as flame impingement, intense radiant heat, electric arcs, or high-temperature lines?

Are cylinders located or stored in areas where they will not be damaged by passing or falling objects, or subject to tampering by unauthorized persons?

Are cylinders stored or transported in a manner to prevent them creating a hazard by tipping, falling, or rolling?

Are cylinders containing liquefied fuel gas stored or transported in a position so that the safety relief device is always in direct contact with the vapor space in the cylinder?

Are valve protectors always placed on cylinders when the cylinders are not in use or connected for use?

Are all valves closed off before a cylinder is moved, when the cylinder is empty, and at the completion of each job?

Are low-pressure fuel-gas cylinders checked periodically for corrosion, general distortion, cracks, or any other defect that might indicate a weakness or render it unfit for service?

Does the periodic check of low-pressure fuel-gas cylinders include a close inspection of the cylinders’ bottom?

HOIST & AUXILIARY EQUIPMENT

Is each overhead electric hoist equipped with a limit device to stop the hook travel at its highest and lowest point of safe travel?

Will each hoist automatically stop and hold any load up to 125 percent of its rated load, if its actuating force is removed?

Is the rated load of each hoist legibly marked and visible to the operator?

Are stops provided at the safe limits of travel for trolley hoist?

Are the controls of hoists plainly marked to indicate the direction of travel or motion?

Is each cage-controlled hoist equipped with an effective warning device?

Are close-fitting guards or other suitable devices installed on hoist to assure hoist ropes will be maintained in the sheave grooves?

Are all hoist chains or ropes of sufficient length to handle the full range of movement for the application while still maintaining two full wraps on the drum at all times?

Are nip points or contact points between hoist ropes and sheaves which are permanently located within 7 feet of the floor, ground or working platform, guarded?

Is it prohibited to use chains or rope slings that are kinked or twisted?

Is it prohibited to use the hoist rope or chain wrapped around the load as a substitute for a sling?

Is the operator instructed to avoid carrying loads over people?

Are only employees who have been trained in the proper use of hoists allowed to operate them?

Are only employees who have been trained in the proper use of hoists allowed to operate them?

INDUSTRIAL TRUCKS - FORKLIFTS

Are only trained personnel allowed to operate industrial trucks?

Is substantial overhead protective equipment provided on high lift rider equipment?

Are the required lift truck operating rules posted and enforced?

Is directional lighting provided on each industrial truck that operates in an area with less than 2 foot-candles per square foot of general lighting?

Does each industrial truck have a warning horn, whistle, gong, or other device which can be clearly heard above the normal noise in the areas where operated?

Are the brakes on each industrial truck capable of bringing the vehicle to a complete and safe stop when fully loaded?

Will the industrial truck’s parking brake effectively prevent the vehicle from moving when unattended?

Are industrial trucks operating in areas where flammable gases or vapors — or combustible dust or ignitable fibers — may be present in the atmosphere, approved for such locations?

Are motorized hand and hand/rider trucks so designed that the brakes are applied, and power to the drive motor shuts off, when the operator releases his/her grip on the device that controls the travel?

Are industrial trucks with internal combustion engines, operated in buildings or enclosed areas, carefully checked to ensure such operations do not cause harmful concentration of dangerous gases or fumes?

SPRAYING OPERATIONS

Is adequate ventilation assured before spray operations are started?

Is mechanical ventilation provided when spraying operation is done in enclosed areas?

When mechanical ventilation is provided during spraying operations, is it so arranged that it will not circulate the contaminated air?

Is the spray area free of hot surfaces?

Is the spray area at least 20 feet from flames, sparks, operating electrical motors, and other ignition sources?

Are portable lamps used to illuminate spray areas suitable for use in a hazardous location?

Is approved respiratory equipment provided and used when appropriate during spraying operations?

Do solvents used for cleaning have a flash point of 100º F or more?

Are fire control sprinkler heads kept clean?

Are “NO SMOKING” signs posted in spray areas, paint rooms, paint booths, and paint storage areas?

Is the spray area kept clean of combustible residue?

Are spray booths constructed of metal, masonry, or other substantial noncombustible material?

Are spray booth floors and baffles noncombustible and easily cleaned?

Is infrared drying apparatus kept out of the spray area during spraying operations?

Is the spray booth completely ventilated before using the drying apparatus?

Is the electric drying apparatus properly grounded?

Are lighting fixtures for spray booths located outside of the booth and the interior lighted through sealed clear panels?

Are the electric motors for exhaust fans placed outside booths or ducts?

Are belts and pulleys inside the booth fully enclosed?

Do ducts have access doors to allow cleaning?

Do all drying spaces have adequate ventilation?

ENTERING CONFINED SPACES

Are confined spaces thoroughly emptied of any corrosive or hazardous substances, such as acids or caustics, before entry?

Before entry, are all lines to a confined space containing inert, toxic, flammable, or corrosive materials valved off and blanketed or disconnected and separated?

Is it required that all impellers, agitators, or other moving equipment inside confined spaces be locked out if they present a hazard?

Is either natural or mechanical ventilation provided prior to confined space entry?

Before entry, are appropriate atmospheric tests performed to check for oxygen deficiency, toxic substances, and explosive concentrations in the confined space?

Is adequate illumination provided for the work to be performed in the confined space?

Is the atmosphere inside the confined space frequently tested or continuously monitored during conduct of work?

Is there an assigned safety standby employee outside of the confined space, whose sole responsibility is to watch the work in progress, sound an alarm if necessary, and render assistance?

Is the standby employee or other employees prohibited from entering the confined space without lifelines and respiratory equipment if there are any questions as to the cause of an emergency?

In addition to the standby employee, is there at least one other trained rescuer in the vicinity?

Are all rescuers appropriately trained and using approved, recently inspected equipment?

Does all rescue equipment allow for lifting employees vertically from a top opening?

Are there trained personnel in first aid and CPR immediately available?

Is there an effective communication system in place whenever respiratory equipment is used and the employee in the confined space is out of sight of the standby person?

Is approved respiratory equipment required if the atmosphere inside the confined space cannot be made acceptable?

Is all portable electrical equipment used inside confined spaces either grounded and insulated, or equipped with ground fault protection?

Before gas welding or burning is started in a confined space, are hoses checked for leaks, compressed gas bottles forbidden inside of the confined space, torches lit only outside of the confined area, and the confined area tested for an explosive atmosphere each time before a lit torch is to be taken into the confined space?

If employees will be using oxygen-consuming equipment such as salamanders, torches, or furnaces in a confined space, is sufficient air provided to assure combustion without reducing the oxygen concentration of the atmosphere below 19.5 percent by volume?

Whenever combustion-type equipment is used in confined space, are provisions made to ensure the exhaust gases are vented outside of the enclosure?

Is each confined space checked for decaying vegetation or animal matter which may produce methane?

Is the confined space checked for possible industrial waste which could contain toxic properties?

If the confined space is below the ground and near areas where motor vehicles will be operating, is it possible for vehicle exhaust or carbon monoxide to enter the space?

ENVIRONMENTAL CONTROLS

Are all work areas properly illuminated?

Are employees instructed in proper first aid and other emergency procedures?

Are hazardous substances identified which may cause harm by inhalation, ingestion, skin absorption, or contact?

Are employees aware of the hazards involved with the various chemicals they may be exposed to in their work environment, such as ammonia, chlorine, epoxies, or caustics?

Is employee exposure to chemicals in the workplace kept within acceptable levels?

Can a less harmful method or product be used?

Is the work area’s ventilation system appropriate for the work being performed?

Are spray-painting operations done in spray rooms or booths equipped with an appropriate exhaust system?

Is employee exposure to welding fumes controlled by ventilation, use of respirators, exposure time, or other means?

Are welders and other workers nearby provided with flash shields during welding operations?

If forklifts and other vehicles are used in buildings or other enclosed areas, are the carbon monoxide levels kept below maximum acceptable concentration?

Has there been a determination that noise levels in the facilities are within acceptable levels?

Are steps being taken to use engineering controls to reduce excessive noise levels?

Are proper precautions being taken when handling asbestos and other fibrous materials?

Are caution labels and signs used to warn of asbestos?

Are wet methods used, when practicable, to prevent the emission of airborne asbestos fibers, silica dust, and similar hazardous materials?

Is vacuuming with appropriate equipment used whenever possible rather than blowing or sweeping dust?

Are grinders, saws, and other machines that produce respirable dusts vented to an industrial collector or central exhaust system?

Are all local exhaust ventilation systems designed and operating properly such as airflow and volume necessary for the application? Are the ducts free of obstructions or the belts slipping?

Is personal protective equipment provided, used and maintained wherever required?

Are there written standard operating procedures for the selection and use of respirators where needed?

Are restrooms and washrooms kept clean and sanitary?

Is all water provided for drinking, washing, and cooking potable?

Are all outlets for water not suitable for drinking clearly identified?

Are employees’ physical capacities assessed before being assigned to jobs requiring heavy work?

Are employees instructed in the proper manner of lifting heavy objects?

Where heat is a problem, have all fixed work areas been provided with spot cooling or air conditioning?

Are employees screened before assignment to areas of high heat to determine if their health condition might make them more susceptible to having an adverse reaction?

Are employees required to wear bright-colored (traffic orange) warning vests if they will be working on streets and roadways where they are exposed to the hazards of traffic?

Are exhaust stacks and air intakes located so that contaminated air will not be 
re-circulated within a building or other enclosed area?

Is equipment producing ultra-violet radiation properly shielded?

FLAMMABLE & COMBUSTIBLE MATERIALS

Are combustible scrap, debris, and waste materials (i.e. oily rags) stored in covered metal receptacles and removed from the worksite promptly?

Is proper storage practiced to minimize the risk of fire including spontaneous combustion?

Are approved containers and tanks used for the storage and handling of flammable and combustible liquids?

Are all connections tight on drums and combustible liquid piping, vapor, and liquid?

Are all flammable liquids kept in closed containers when not in use (e.g. parts cleaning tanks, pans)?

Are bulk drums of flammable liquids grounded and bonded to containers during dispensing?

Do storage rooms for flammable and combustible liquids have explosion-proof lights?

Do storage rooms for flammable and combustible liquids have mechanical or gravity ventilation?

Is liquefied petroleum gas stored, handled, and used in accordance with safe practices and standards?

Are liquefied petroleum storage tanks guarded to prevent damage from vehicles?

Are all solvent wastes, and flammable liquids kept in fire-resistant covered containers until they are removed from the worksite?

Is vacuuming used whenever possible rather than blowing or sweeping combustible dust?

Are fire separators placed between containers of combustibles or flammables, when stacked one upon another, to assure their support and stability?

Are fuel gas cylinders and oxygen cylinders separated by distance, fire-resistant barriers, or other means while in storage?

Are fire extinguishers selected and provided for the types of materials in areas where they are to be used?

- Class A: Ordinary combustible material fires.

- Class B: Flammable liquid, gas, or grease fires.

- Class C: Energized-electrical equipment fires.

If a Halon 1301 fire extinguisher is used, can employees evacuate within the specified time for that extinguisher?

Are appropriate fire extinguishers mounted within 75 feet of outside areas containing flammable liquids, and within 10 feet of any inside storage area for such materials?

Is the transfer/withdrawal of flammable or combustible liquids performed by trained personnel?

Are fire extinguishers mounted so that employees do not have to travel more than 75 feet for a class “A” fire or 50 feet for a class “B” fire?

Are employees trained in the use of fire extinguishers?

Are extinguishers free from obstructions or blockage?

Are all extinguishers’ services maintained and tagged at intervals not to exceed one year?

Are all extinguishers fully charged and in their designated places?

Is a record maintained of required monthly checks of extinguishers?

Where sprinkler systems are permanently installed, are the nozzle heads directed or arranged so that water will not be sprayed into operating electrical switch boards and equipment?

Are “NO SMOKING” signs posted where appropriate in areas where flammable or combustible materials are used or stored?

Are “NO SMOKING” signs posted on liquefied petroleum gas tanks?

Are “NO SMOKING” rules enforced in areas involving storage and use of flammable materials?

Are safety cans used for dispensing flammable or combustible liquids at a point of use?

Are all spills of flammable or combustible liquids cleaned up promptly?

Are storage tanks adequately vented to prevent the development of excessive vacuum or pressure as a result of filling, emptying, or atmosphere temperature changes?

Are storage tanks equipped with emergency venting that will relieve excessive internal pressure caused by fire exposure?

Are spare portable or butane tanks which are used by industrial trucks stored in accord with regulations?

FIRE PROTECTION

Do you have a fire prevention plan?

Does your plan describe the type of fire protection equipment and/or systems?

Have you established practices and procedures to control potential fire hazards and ignition sources?

Are employees aware of the fire hazards of the material and processes to which they are exposed?

Is your local fire department well acquainted with your facilities, location, and specific hazards?

If you have a fire alarm system, is it tested at least annually?

If you have a fire alarm system, is it certified as required?

If you have interior stand pipes and valves, are they inspected regularly?

If you have outside private fire hydrants, are they flushed at least once a year and on a routine preventive maintenance schedule?

Are fire doors and shutters in good operating condition?

Are fire doors and shutters unobstructed and protected against obstructions, including their counterweights?

Are fire door and shutter fusible links in place?

Are automatic sprinkler system water control valves, air and water pressures checked weekly/periodically as required?

Is maintenance of automatic sprinkler system assigned to responsible persons or to a sprinkler contractor?

Are sprinkler heads protected by metal guards when exposed to physical damage?

Is proper clearance maintained below sprinkler heads?

Are portable fire extinguishers provided in adequate number and type?

Are fire extinguishers mounted in readily accessible locations?

Are fire extinguishers recharged regularly and noted on the inspection tag?

Are employees periodically instructed in the use of extinguishers and fire protection procedures?

HAZARDOUS CHEMICAL EXPOSURES

Are employees trained in the safe handling practices of hazardous chemicals such as acids, caustics, and the like?

Are employees aware of the potential hazards involving various chemicals stored or used in the workplace, such as acids, bases, caustics, epoxies, or phenols?

Is employee exposure to chemicals kept within acceptable levels?

Are eye wash fountains and safety showers provided in areas where corrosive chemicals are handled?

Are all containers such as vats and storage tanks labeled as to their contents (e.g. “CAUSTICS”)?

Are all employees required to use personal protective clothing and equipment when handling chemicals (i.e. gloves, eye protection, respirators)?

Are flammable or toxic chemicals kept in closed containers when not in use?

Are chemical piping systems clearly marked as to their content?

Where corrosive liquids are frequently handled in open containers or drawn from storage vessels or pipe lines, is adequate means readily available for neutralizing or disposing of spills or overflows properly and safely?

Have standard operating procedures been established and are they being followed when cleaning up chemical spills?

Where needed for emergency use, are respirators stored in a convenient, clean, and sanitary location?

Are respirators intended for emergency use adequate for the various uses for which they may be needed?

Are employees prohibited from eating in areas where hazardous chemicals are present?

Is personal protective equipment provided, used, and maintained whenever necessary?

Are there written standard operating procedures for the selection and use of respirators where needed?

If you have a respirator protection program, are your employees instructed on the correct usage and limitations of the respirators?

Are the respirators NIOSH-approved for this particular application?

Are respirators regularly inspected, cleaned, sanitized, and maintained?

If hazardous substances are used in your processes, do you have a medical or biological monitoring system in operation?

Are you familiar with the Threshold Limit Values or Permissible Exposure Limits of airborne contaminants and physical agents used in your workplace?

Have control procedures been instituted for hazardous materials, where appropriate, such as respirators, ventilation systems, handling practices, and the like?

Whenever possible, are hazardous substances handled in properly designed and exhausted booths or similar locations?

Do you use general dilution or local exhaust ventilation systems to control dusts, vapors, gas fumes, smoke, solvents, or mists which may be generated in your workplace?

Is ventilation equipment provided for removal of contaminants from such operations as production grinding, bugging, spray painting, and/or vapor decreasing, and is it operating properly?

Do employees complain about dizziness, headaches, nausea, irritation, or other factors of discomfort when they use solvents or other chemicals?

Is there a dermatitis problem — do employees complain about skin dryness, irritation, or sensitization?

Have you considered the use of an industrial hygienist or environmental health specialist to evaluate your operation?

If internal combustion engines are used, is carbon monoxide kept within acceptable levels?

Is vacuuming used, rather than blowing or sweeping dusts whenever possible for cleanup?

Are materials which give off toxic asphyxiant, suffocating, or anesthetic fumes stored in remote or isolated locations when not in use?

HAZARDOUS SUBSTANCES COMMUNICATION

Is there a list of hazardous substances used in your workplace?

Is there a written hazard communication program dealing with Material Safety Data Sheets (MSDS) labeling and employee training?

Who is responsible for MSDSs, container labeling, and employee training?

Is each container for a hazardous substance (i.e. vats, bottles, storage tanks) labeled with product identity and a hazard warning (communication of the specific health hazards and physical hazards)?

Is there a Material Safety Data Sheet readily available for each hazardous substance used?

How will you inform other employers whose employees share the same work area where the hazardous substances are used?

Is there an employee training program for hazardous substances?

Does this program include:

- An explanation of what an MSDS is and how to use and obtain one?

- MSDS contents for each hazardous substance or class of substances?

- Explanation of “Right to Know”?

- Identification of where employees can see the employer’s written hazard communication program and where hazardous substances are present in their work area?

- The physical and health hazards of substances in the work area, how to detect their presence, and specific protective measures to be used?

- Details of the hazard communication program, including how to use the labeling system and MSDSs?

- How employees will be informed of hazards of non-routine tasks, and hazards of unlabeled pipes?

ELECTRICAL

Are your workplace electricians familiar with the Cal/OSHA Electrical Safety Orders?

Do you specify compliance with Cal/OSHA for all contract electrical work?

Are all employees required to report as soon as practicable any obvious hazard to life or property observed in connection with electrical equipment or lines?

When electrical equipment or lines are to be serviced, maintained, or adjusted, are necessary switches opened, locked out, and tagged whenever possible?

Are portable electrical tools and equipment grounded or of the double-insulated type?

Are electrical appliances such as vacuum cleaners, polishers, and vending machines grounded?

Do extension cords being used have a grounding conductor?

Are multiple plug adapters prohibited?

Are ground-fault circuit interrupters installed on each temporary 15- or 20-ampere, 120-volt AC circuit at locations where construction, demolition, modifications, alterations, or excavations are being performed?

Are all temporary circuits protected by suitable disconnecting switches or plug connectors at the junction with permanent wiring?

Is exposed wiring and cords with frayed or deteriorated insulation repaired or replaced promptly?

Are flexible cords and cables free of splices or taps?

Are clamps or other securing means provided on flexible cords or cables at plugs, receptacles, tools, and equipment, and is the cord jacket securely held in place?

Are all cord, cable, and raceway connections intact and secure?

In wet or damp locations, are electrical tools and equipment appropriate for the use or location or otherwise protected?

Is the location of electrical power lines and cables (overhead, underground, underfloor, other side of walls) determined before digging, drilling, or similar work is begun?

Are metal measuring tapes, ropes, handlines, or similar devices with metallic thread woven into the fabric prohibited where they could dome in contact with energized parts of equipment or circuit conductors?

Is the use of metal ladders prohibited in areas where the ladder or the person using the ladder could come in contact with energized parts of equipment, fixtures, or circuit conductors?

Are all disconnecting switches and circuit breakers labeled to indicate their use or equipment served?

Are disconnecting means always opened before fuses are replaced?

Do all interior wiring systems include provisions for grounding metal parts of electrical raceways, equipment, and enclosures?

Are all electrical raceways and enclosures securely fastened in place?

Are all energized parts of electrical circuits and equipment guarded against accidental contact by approved cabinets or enclosures?

Is sufficient access and working space provided and maintained about all electrical equipment to permit ready and safe operations and maintenance?

Are all unused openings (including conduit knockouts) in electrical enclosures and fittings closed with appropriate covers, plugs, or plates?

Are electrical enclosures such as switches, receptacles, junction boxes, etc., provided with tight-fitting covers or plates?

Are disconnecting switches for electrical motors in excess of two horsepower capable of opening the circuit when the motor is in a stalled condition, without exploding? (Switches must be horsepower-rated equal to or in excess of the motor hp rating).

Is low-voltage protection provided in the control device of motors driving machines or equipment which could cause injury from inadvertent starting?

Is each motor disconnecting switch or circuit breaker located within sight of the motor control device?

Is each motor located within sight of its controller or the controller disconnecting means capable of being locked in the open position or is a separate disconnecting means installed in the circuit within sight of the motor?

Is the controller for each motor, in excess of two horsepower, rated in horsepower equal to or in excess of the rating of the motor it serves?

Are employees who regularly work on or around energized electrical equipment or lines instructed in the cardio-pulmonary resuscitation (CPR) methods?

Are employees prohibited from working alone on energized lines or equipment over 600 volts?

NOISE

Are there areas in the workplace where continuous noise levels exceed 85 dBA? (To determine maximum allowable levels for intermittent or impact noise, see Title 8, Section 5097.)

Are noise levels being measured using a sound level meter or an octave band analyzer, and records being kept?

Have you tried isolating noisy machinery from the rest of your operation?

Have engineering controls been used to reduce excessive noise levels?

Where engineering controls are determined not feasible, are administrative controls (i.e. worker rotation) being used to minimize individual employee exposure to noise?

Is there an ongoing preventive health program to educate employees in safe levels of noise and exposure, effects of noise on their health, and use of personal protection?

Is the training repeated annually for employees exposed to continuous noise above 85 dBA?

Have work areas where noise levels make voice communication between employees difficult been identified and posted?

Is approved hearing-protective equipment (noise attenuating devices) available to every employee working in areas where continuous noise levels exceed 85 dBA?

If you use ear protectors, are employees properly fitted and instructed in their use and care?

Are employees exposed to continuous noise above 85 dBA given periodic audiometric testing to ensure that you have an effective hearing protection system?

FUELING

Is it prohibited to fuel an internal combustion engine with a flammable liquid while the engine is running?

Are fueling operations done in such a manner that likelihood of spillage will be minimal?

When spillage occurs during fueling operations, is the spilled fuel cleaned up completely, evaporated, or other measures taken to control vapors before restarting the engine?

Are fuel tank caps replaced and secured before starting the engine?

In fueling operations is there always metal contact between the container and fuel tank?

Are fueling hoses of a type designed to handle the specific type of fuel?

Is it prohibited to handle or transfer gasoline in open containers?

Are open lights, open flames, or sparking or arcing equipment prohibited near fueling or transfer of fuel operations?

Is smoking prohibited in the vicinity of fueling operations?

Are fueling operations prohibited in buildings or other enclosed areas that are not specifically ventilated for this purpose?

Where fueling or transfer of fuel is done through a gravity flow system, are the nozzles of the self-closing type?

IDENTIFICATION OF PIPING SYSTEMS

When non-potable water is piped through a facility, are outlets or taps posted to alert employees that it is unsafe and not to be used for drinking, washing, or other personal use?

When hazardous substances are transported through above-ground piping, is each pipeline identified at points where confusion could introduce hazards to employees?

When pipelines are identified by color painting, are all visible parts of the line so identified?

When pipelines are identified by color-painted bands or tapes, are the bands or tapes located at reasonable intervals and at each outlet, valve, or connection?

When pipelines are identified by color, is the color code posted at all locations where confusion could introduce hazards to employees?

When the contents of pipelines are identified by name or name abbreviation, is the information readily visible on the pipe near each valve or outlet?

When pipelines carrying hazardous substances are identified by tags, are the tags constructed of durable materials, the message carried clearly and permanently distinguishable and are tags installed at each valve or outlet?

When pipelines are heated by electricity, steam, or other external sources, are suitable warning signs or tags placed at unions, valves, or other serviceable parts of the system?

MATERIAL HANDLING

Is there safe clearance for equipment through aisles and doorways?

Are aisle ways designated, permanently marked, and kept clear to allow unhindered passage?

Are motorized vehicles and mechanized equipment inspected daily or prior to use?

Are vehicles shut off and brakes set prior to loading or unloading?

Are containers or combustible or flammables, when stacked while being moved, always separated by dunnage sufficient to provide stability?

Are dock boards (bridge plates) used when loading or unloading operations are taking place between vehicles and docks?

Are trucks and trailers secured from movement during loading and unloading operations?

Are dock plates and loading ramps constructed and maintained with sufficient strength to support imposed loading?

Are hand trucks maintained in safe operating condition?

Are chutes equipped with sideboards of sufficient height to prevent the materials being handled from falling off?

Are chutes and gravity roller sections firmly placed or secured to prevent displacement?

At the delivery end of rollers or chutes, are provisions made to brake the movement of the handled materials?

Are pallets usually inspected before being loaded or moved?

Are hooks with safety latches or other arrangements used when hoisting materials so that slings or load attachments won’t accidentally slip off the hoist hooks?

Are securing chains, ropes, chockers, or slings adequate for the job to be performed?

When hoisting material or equipment, are provisions made to assure no one will be passing under the suspended loads?

Are Material Safety Data Sheets available to employees handling hazardous substances?

TRANSPORTING EMPLOYEES & MATERIALS

Do employees who operate vehicles on public thoroughfares have valid operator’s licenses?

When seven or more employees are regularly transported in a van, bus, or truck, is the operator’s license appropriate for the class of vehicle being driven?

Is each van, bus, or truck used regularly to transport employees equipped with an adequate number of seats?

When employees are transported by truck, are provisions provided to prevent their falling from the vehicle?

Are vehicles used to transport employees equipped with lamps, brakes, horns, mirrors, windshields and turn signals in good repair?

Are transport vehicles provided with handrails, steps, stirrups, or similar devices, so placed and arranged that employees can safely mount or dismount?

Are employee-transport vehicles equipped at all times with at least two reflective type flares?

Is a fully charged fire extinguisher, in good condition, with at least 4 B:C rating maintained in each employee-transport vehicle?

When cutting tools with sharp edges are carried in passenger compartments of employee-transport vehicles, are they placed in closed boxes or containers which are secured in place?

Are employees prohibited from riding on top of any load which can shift, topple, or otherwise become unstable?

CONTROL OF HARMFUL SUBSTANCES BY VENTILATION

Is the volume and velocity of air in each exhaust system sufficient to gather the dusts, fumes, mists, vapors, or gases to be controlled, and to convey them to a suitable point of disposal?

Are exhaust inlets, ducts, and plenums designed, constructed, and supported to prevent collapse or failure of any part of the system?

Are clean-out ports or doors provided at intervals not to exceed 12 feet in all horizontal runs of exhaust ducts?

Where two or more different types of operations are being controlled through the same exhaust system, will the combination of substances being controlled constitute a fire, explosion, or chemical reaction hazard in the duct?

Is adequate makeup air provided to areas where exhaust systems are operating?

Is the intake for makeup air located so that only clean, fresh air, free of contaminants, will enter the work environment?

Where two or more ventilation systems are serving a work area, is their operation such that one will not offset the functions of the other?

SANITIZING EQUIPMENT & CLOTHING

Is personal protective clothing or equipment, which employees are required to wear or use, of a type capable of being easily cleaned and disinfected?

Are employees prohibited from interchanging personal protective clothing or equipment, unless it has been properly cleaned?

Are machines and equipment which processes, handles, or applies materials that could be injurious to employees cleaned and/or decontaminated before being overhauled or placed in storage?

Are employees prohibited from smoking or eating in any area where contaminants are present that could be injurious if ingested?

When employees are required to change from street clothing into protective clothing, is a clean change room with separate storage facilities for street and protective clothing provided?

Are employees required to shower and wash their hair as soon as possible after a known contact has occurred with a carcinogen?

When equipment, materials, or other items are taken into or removed from a carcinogen-regulated area, is it done in a manner that will not contaminate non-regulated areas or the external environment?

TIRE INFLATION

Where tires are mounted and/or inflated on drop center wheels, is a safe practice procedure posted and enforced?

Where tires are mounted and/or inflated on wheels with split rims and/or retainer rings, is a safe practice procedure posted and enforced?

Does each tire inflation hose have a clip-on chuck with at least 24 inches of hose between the chuck and an in-line hand valve and gauge?

Does the tire inflation control valve automatically shut off the air flow when the valve is released?

Is a tire restraining device such as a cage, rack, or other effective means used while inflating tires mounted on split rims or rims using retainer rings?

Are employees strictly forbidden from taking a position directly over or in front of a tire while it’s being inflated?

EMERGENCY ACTION PLAN

Are you required to have an emergency action plan?

Does the emergency action plan comply with requirements of T8CCR 3220(a)?

Have emergency escape procedures and routes been developed and communicated to all employees?

Do employees who remain to operate critical plant operations before they evacuate know the proper procedures?

Is the employee alarm system that provides a warning for emergency action recognizable and perceptible above ambient conditions?

Are alarm systems properly maintained and tested regularly?

Is the emergency action plan reviewed and revised periodically?

Do employees know their responsibilities:

- For reporting emergencies?

- During an emergency?

- For conducting rescue and medical duties?

INFECTION CONTROL

Are employees potentially exposed to infectious agents in body fluids?

Have occasions of potential occupational exposure been identified and documented?

Has a training and information program been provided for employees exposed to or potentially exposed to blood and/or body fluids?

Have infection control procedures been instituted where appropriate, such as ventilation, universal precautions, workplace practices, and personal protective equipment?

Are employees aware of specific workplace practices to follow when appropriate (hand washing, handling sharp instruments, handling of laundry, disposal of contaminated materials, reusable equipment)?

Is personal protective equipment provided to employees, and in all appropriate locations?

Is the necessary equipment (i.e. mouth-pieces, resuscitation bags, other ventilation devices) provided for administering mouth-to-mouth resuscitation on potentially infected patients?

Are facilities/equipment to comply with workplace practices available, such as hand-washing sinks, biohazard tags and labels, needle containers, detergents/disinfectants to clean up spills?

Are all equipment and environmental and working surfaces cleaned and disinfected after contact with blood or potentially infectious materials?

Is infectious waste placed in closable, leak-proof containers, bags, or puncture-resistant holders with proper labels?

Has medical surveillance, including HBV evaluation, antibody testing, and vaccination been made available to potentially exposed employees?

Training on universal precautions?

Training on personal protective equipment?

Training on workplace practices which should include blood drawing, room cleaning, laundry handling, cleanup of blood spills?

Training on needle stick exposure and management?

Hepatitis B vaccinations?

ERGONOMICS

Can the work be performed without eye strain or glare to the employees?

Does the task require prolonged raising of the arms?

Do the neck and shoulders have to be stooped to view the task?

Are there pressure points on any parts of the body (wrists, forearms, back of thighs)?

Can the work be done without twisting or overly bending the lower back?

Are there sufficient rest breaks, in addition to the regular rest breaks, to relieve stress from repetitive-motion tasks?

Are tools, instruments, and machinery shaped, positioned, and handled so that tasks can be performed comfortably?

Are all pieces of furniture adjusted, positioned, and arranged to minimize strain on all parts of the body?

VENTILATION FOR INDOOR AIR QUALITY

Does your HVAC system provide at least the quantity of outdoor air required by the State Building Standards Code, Title 24, Part 2 at the time the building was constructed?

Is the HVAC system inspected at least annually, and problems corrected?

Are inspection records retained for at least 5 years?

SECTION VI

INJURY AND

ILLNESS

INVESTIGATION

INJURY AND ILLNESS INVESTIGATION

Any injuries and illnesses will be investigated as soon as possible. A complete injury and illness investigation includes gathering data, making an objective evaluation of facts, statements and related information, and finally, developing a definite plan to prevent recurrence.

GUIDELINES FOR INJURY OR ILLNESS INVESTIGATION

- The purpose of an investigation is to find the cause of an injury or illness, prevent future occurrences, not to fix the blame. An unbiased approach is necessary to obtain objective findings.

- Visit the scene as soon as possible (when it is safe to do)—while facts are fresh and before witnesses forget important details.

- If possible, interview the injured worker at the scene.  Interviews should be conducted as privately as possible. Interview witnesses one at a time. Talk with anyone who has knowledge of the injury or illness even if they did not actually witness it.

- Consider taking signed statements in cases where facts are unclear or there is an element of controversy.

- Document details graphically. Use sketches, diagrams and photos as needed, and take measurements when appropriate.

- Focus on causes and hazards. Develop an analysis of what happened, how it happened and how it could have been prevented. Determine what caused the incident itself, not just the injury.

- Every investigation should include an action plan and how to prevent such injuries or illnesses in the future.

- If a third party or defective product contributed to the injury, save any evidence. It could be critical to the recovery of claims costs.

- Serious injuries, Illnesses or death of an employee shall be reported immediately (within 8 hours) to the nearest District Office of the Division of Occupational Safety and Health. Serious injury or illness means any injury or illness which requires inpatient hospitalization for more than 24 hours for other than observation or in which an employee suffers a loss of any member of the body or suffers any serious degree of permanent disfigurement.

- Supervisors must give an injured employee a claim form within 24 hours of knowledge of injury.

ACCIDENT/EXPOSURE INVESTIGATION REPORT

Injured Employee’s Name: _______________________________________________

Date of Incident: _____________________________ Time: ____________

Date Incident reported: ________________________Time: ____________

Description of the incident:

Witness names: _________________________________________________

		   _________________________________________________

		   _________________________________________________

Cause of Accident:

Was a safety procedure violated?

Accident site inspection and comments:

Recommendations/comments:

Supervisor Signature:_______________________________________________Date:__________

SECTION VII

RECORDKEEPING

GUIDELINES FOR RECORDKEEPING

Records will be kept of all safety program activities, and may include:

- Initial orientation training

- Job descriptions and/or job analysis

- Safety meetings

- Training schedule for each employee

- Injury or Illness Investigations

- Employee and employer claim forms

- Cal/OSHA required records such as medical exposure records, injury reports

- Inspections performed, in-house, and any performed by outside agencies

- Disciplinary actions

- Safety Committee meetings

- Vehicle inspection forms

- DMV driving records

- CPR/First Aid training